## Channel Table
| Test Article Definition |  |  | Instrument Definition | [6 empty] | Channel Definition | [7 empty] | Output Feedback |  | Limits
Channel Index | Node Number | Node Direction | Comment | Serial Number | Triax DoF | Sensitivity (mV/EU) | Engineering Unit | Make | Model | Calibration Exp Date | Physical Device | Physical Channel | Type | Minimum Value (V) | Maximum Value (V) | Coupling | Current Excitation Source | Current Excitation Value | Physical Device | Physical Channel | Warning Level (EU) | Abort Level (EU)
0 | 11 | X+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
1 | 11 | Y+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
2 | 11 | Z+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
3 | 15 | X+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
4 | 15 | Y+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
5 | 15 | Z+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
6 | 131 | X+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
7 | 131 | Y+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
8 | 131 | Z+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
9 | 135 | X+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
10 | 135 | Y+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
11 | 135 | Z+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
12 | 1004 | X+ | 1004X+ | [7 empty] | Virtual |  | Acceleration
13 | 1004 | Y+ | 1004Y+ | [7 empty] | Virtual |  | Acceleration
14 | 1004 | Z+ | 1004Z+ | [7 empty] | Virtual |  | Acceleration
15 | 1012 | X+ | 1012X+ | [7 empty] | Virtual |  | Acceleration
16 | 1012 | Y+ | 1012Y+ | [7 empty] | Virtual |  | Acceleration
17 | 1012 | Z+ | 1012Z+ | [7 empty] | Virtual |  | Acceleration
18 | 1020 | X+ | 1020X+ | [7 empty] | Virtual |  | Acceleration
19 | 1020 | Y+ | 1020Y+ | [7 empty] | Virtual |  | Acceleration
20 | 1020 | Z+ | 1020Z+ | [7 empty] | Virtual |  | Acceleration
21 | 1065 | X+ | 1065X+ | [7 empty] | Virtual |  | Acceleration
22 | 1065 | Y+ | 1065Y+ | [7 empty] | Virtual |  | Acceleration
23 | 1065 | Z+ | 1065Z+ | [7 empty] | Virtual |  | Acceleration
24 | 1057 | X+ | 1057X+ | [7 empty] | Virtual |  | Acceleration
25 | 1057 | Y+ | 1057Y+ | [7 empty] | Virtual |  | Acceleration
26 | 1057 | Z+ | 1057Z+ | [7 empty] | Virtual |  | Acceleration
27 | 1049 | X+ | 1049X+ | [7 empty] | Virtual |  | Acceleration
28 | 1049 | Y+ | 1049Y+ | [7 empty] | Virtual |  | Acceleration
29 | 1049 | Z+ | 1049Z+ | [7 empty] | Virtual |  | Acceleration