## Channel Table
| Test Article Definition |  |  | Instrument Definition | [6 empty] | Channel Definition | [7 empty] | Output Feedback |  | Limits
Channel Index | Node Number | Node Direction | Comment | Serial Number | Triax DoF | Sensitivity (mV/EU) | Engineering Unit | Make | Model | Calibration Exp Date | Physical Device | Physical Channel | Type | Minimum Value (V) | Maximum Value (V) | Coupling | Current Excitation Source | Current Excitation Value | Physical Device | Physical Channel | Warning Level (EU) | Abort Level (EU)
0 | 1004 | X+ | 1004X+ | [7 empty] | Virtual |  | Acceleration
1 | 1004 | Y+ | 1004Y+ | [7 empty] | Virtual |  | Acceleration
2 | 1004 | Z+ | 1004Z+ | [7 empty] | Virtual |  | Acceleration
3 | 1020 | X+ | 1020X+ | [7 empty] | Virtual |  | Acceleration
4 | 1020 | Y+ | 1020Y+ | [7 empty] | Virtual |  | Acceleration
5 | 1020 | Z+ | 1020Z+ | [7 empty] | Virtual |  | Acceleration
6 | 1065 | X+ | 1065X+ | [7 empty] | Virtual |  | Acceleration
7 | 1065 | Y+ | 1065Y+ | [7 empty] | Virtual |  | Acceleration
8 | 1065 | Z+ | 1065Z+ | [7 empty] | Virtual |  | Acceleration
9 | 1049 | X+ | 1049X+ | [7 empty] | Virtual |  | Acceleration
10 | 1049 | Y+ | 1049Y+ | [7 empty] | Virtual |  | Acceleration
11 | 1049 | Z+ | 1049Z+ | [7 empty] | Virtual |  | Acceleration
12 | 13 | X+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
13 | 13 | Y+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
14 | 13 | Z+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
15 | 131 | X+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
16 | 131 | Y+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
17 | 131 | Z+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
18 | 135 | X+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
19 | 135 | Y+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual
20 | 135 | Z+ | Force | [7 empty] | Virtual |  | Force | [5 empty] | Virtual